Growth and scintillation properties of Mo co-doped Ce:Gd₃(Ga,Al)₅O₁₂ single crystals

Kyoung Jin Kim1,2, Kei Kamada1,2, Masao Yoshino1,3, Yasuhiro Shoji3, Vladimir Kochurikhin3, Akira Yoshikawa1,2,3

1New Industry Creation Hatchery Center (NICHe), Tohoku University, Sendai, Japan

2C&A Corporation, Sendai, Japan

3Institute for Materials Research (IMR), Tohoku University, Sendai, Japan

Corresponding Author Email: kyoung.jin.kim.c4@tohoku.ac.jp

Many kinds of scintillator materials, such as Ce:Y3Al5O12 (Ce:YAG), Ce:Lu3Al5O12, and Pr:Lu3Al5O12, were developed. Ce:Gd3(Al, Ga)5O12 is a newly developed single crystal scintillator [1]. The Ce-doped Gd3(Ga,Al)5O12 (Ce:GAGG) is one of the most attractive scintillator materials from the point of view of light output, decay time, energy resolution, density and absence of intrinsic radioactivity. Scintillator crystals coupled with photo detectors have been widely used in high-energy radiation imaging applications such as gamma cameras, positron emission tomography (PET), and others. For these applications, the scintillating properties should include good energy resolution, high stopping power, high light yield, and fast decay time. Numerous studies have been conducted on the effects of rare earth doping and/or co-doping with various cations in GAGG crystal structure, multicomponent garnet based on YAG crystal with an admixture of Ga and Gd, to improve its properties. It was reported that the scintillation properties of Ce:GAGG depend on the ratio of Ga to Al [2].

Figure 1. Photos of the grown Mo co-doped and non co-doped Ce:Gd3GaxAl5−xO12 crystals.

In this study, the performance of Mo co-doped Ce0.5%:Gd3GaxAl5−xO12 single crystal scintillators with different ratio of Al and Ga (x=2.4, 2.7, 3.0) was investigated. All these crystals were prepared by the micro-pulling (μ-PD) down method. We have investigated the relationship between the eﬀects of reducing Ga content in Ce:GAGG and the eﬀects of co-doping with Mo ion in Ce:GAGG. The scintillation properties of the grown crystals such as light yield and decay time were evaluated. The energy spectra of non co-doped and Mo co-doped Ce:GAGG, excited by 137Cs, are measured at room temperature using a Photomultiplier Tube (PMT). Scintillation decay curves were observed by using digital oscilloscope TDS3052B under the excitation by 137Cs radioisotope (662 keV).

Light output was increased in a sample with the small amount of Mo concentration and maximum light output of 112% compared to the non co-doped Ce:GAGG was obtained in the Mo 300 ppm co-doped crystal with x=3.0. The scintillation decay was also accelerated to 57.2 ns by Mo 500 ppm co-doping with x=3.0. Details of changes in scintillation properties with Mo co-doping will be reported at the conference.

[1] K. Kamada, A. Yoshikawa, et al., “Composition Engineering in Cerium-Doped (Lu,Gd)3(Ga,Al)5O12 Single-Crystal Scintillators,” Cryst. Growth and Des., 11, 4484–4490 (2011).

[2] K. Kamada, A. Yoshikawa, et al., “Cz grown 2-in. size Ce:Gd3(Al,Ga)5O12 single crystal; relationship between Al, Ga site occupancy and scintillation properties,” Opt. Mater., 36, 1942-1945 (2014).